Checklist for work area recovery site planning

By Paul Kirvan, FBCI, CISA, CBCP

Planning

- Develop a work area recovery strategy that aligns with business goals, results of business impact analyses and risk assessments, and provides a work area solution that is affordable and easily accessible

- Determine who will be stationed in the work area center; this can be obtained from BIA results

- Determine the minimum room size, based on who will be there, equipment located in the room, infrastructure required to support the room, e.g., power, utilities and HVAC

- Ensure there are common/meeting areas, as well as room for copiers and mail handling

- Ensure there are restroom facilities and a food prep area

- Consider the distance between the work area site and main offices

- Consider location of restaurants, retail shopping and public transportation

- Determine if the work area site will be standalone or collocated with another company facility, such as a backup data center

- Determine if the added expense of dedicated space (versus shared space) can be justified

- Consider using leased space versus owned space, as well as renovation of existing space versus new construction

- Coordination with facilities, security, space planning and real estate departments

- Consider whether to design a simple work area configuration versus fully-equipped with “bells and whistles”

- Build a project plan and share it with all key employees and keep it updated

- Consider human factors, such as proximity to employee homes, psychological stress associated with working at a non-normal work area and transportation to the site

Contract issues

- Review contract language with your attorneys, especially if the work area is not a company-owned facility

- Define what happens when declaring an emergency and preparing to relocate to the work area facility, e.g., how much lead time is needed to prepare the site for occupancy

- Consider that the term of use, e.g., one week, one month, can mean added costs in order to extend occupancy time

- Consider the effects of any relevant legal requirements

Third-party work area provider considerations

- Evaluate duration of site occupancy when BC/DR plan is activated; determine at what point in time additional charges may be assessed

- Evaluate what is provided at each work area position, e.g., desk, chair, telephone and a PC with network and internet access

- Evaluate amount of maintenance and technical support for contracted equipment at all times

- Ensure that vendor can replicate your operational requirements and can do so at all its locations

- Ensure access to a secure entrance and emergency exit

- Ensure that work area site has sufficient voice and data connectivity and bandwidth

Operational issues

- Determine number of seats, desktop equipment, building utilities and supplies needed for a specific duration of time, e.g., one week, one month, etc.

- Determine which business units will occupy the space and how many from each unit are needed

- Determine what systems and applications will be needed to support recovery time objectives (RTO)

- Ensure there is sufficient signage

- Install fire detection/suppression equipment

- Install power protection systems

- Install security system to prevent unauthorized access

- Ensure space is monitored when not being used

BC/DR issues

- Ensure that work area program is included in BC/DR plans

- Exercise work area facility to ensure it is ready for use

- Perform walk-through tests of site before conducting a full-scale exercise; identify and correct possible problems in advance

- Add work area recovery program to awareness and training activities

- Ensure availability of backup devices (e.g., workstations, printers) at work area site

- Update BC/DR plan documentation to include work area recovery program

Technology checklist

Work area equipment

- Workstations equipped with desk, chair, PC/laptop and telephone

- CAT-6 LAN and voice wiring

- LAN infrastructure, e.g., using 10/100 Mb Ethernet, 1 GB Ethernet

Power

- Commercial power

- UPS and emergency generator

- Power protection equipment, e.g., surge protectors

Telecommunications

- Primary and alternate network connectivity

- Tier 1 Internet access

- Primary rate ISDN access

- PSTN lines for fax access

- Satellite phone(s)

- Voice over IP phones

- Mobile cell site on wheels (COW)

- Call center capability

Security

- Swipe card access

- Proximity care access

- Biometric (e.g., fingerprint) access

- Keys for offices

- Information security, e.g., anti-virus protection, firewalls and other perimeter protection, as well as encryption

Data equipment area

- Air conditioned, raised floor, controlled access

- Racks for installing equipment

- Power distribution equipment

- Sufficient HVAC for equipment

Workstations

- Company brand PC/laptop

- 1-4 GB RAM

- 150-500 GB hard disk drive

- CD ROM drive

- Ethernet adapter

- Preloaded software

Printers

- Black and white printers

- Color printers

- Scanners

- Supply of paper

- Supply of printer ink cartridges