<Your Company>

Help Desk Disaster Recovery Plan

By Paul Kirvan, CISA, CSSP, FBCI, CBCP

Revision 0.0

Date

Emergency notification contacts

| Name | Address | Home | Mobile/Cell phone |
| --- | --- | --- | --- |

Revisions control page

| Date | Summary of changes made | Changes made by (Name) |
| --- | --- | --- |

Purpose

The purpose of this BC/DR plan is to prepare <Your Company> in the event of extended service outages affecting the corporate help desk caused by factors beyond our control (e.g., natural disasters, man-made events), and to restore help desk operations to the widest extent possible in a minimum time frame. All <Your Company> help desk sites are expected to implement preventive measures whenever possible to minimize operational disruptions and to recover as rapidly as possible when an incident occurs.

The plan identifies vulnerabilities and recommends necessary measures to prevent extended help desk service outages. It is a plan that encompasses all <Your Company> help desk operations.

## Scope

The scope of this plan is limited to <describe>. This is a BC/DR plan, not a daily problem resolution procedures document.

## Plan objectives

- Serves as a guide for <Your Company> IT help desk recovery teams.

- References and points to the location of any help desk data outside this document.

- Provides procedures and resources needed to assist in recovery.

- Identifies vendors and customers that must be notified in the event of a disaster.

- Assists in avoiding confusion experienced during a help desk disruption by documenting, testing and reviewing recovery procedures.

- Identifies alternate sources for help desk supplies, resources and work locations.

- Documents storage, safeguarding and retrieval procedures for vital help desk records.

## Assumptions

- Key help desk people (team leaders or alternates) will be available following a disaster.

- A national disaster such as nuclear war is beyond the scope of this plan.

- This document and all vital help desk records are stored in a secure off-site location and not only survived the disaster but are accessible immediately following the disaster.

- Each help desk and similar support organization will have its own plan consisting of unique recovery procedures, critical resource information and procedures.

## Disaster definition

Any loss of utility service (power, water), voice/data connectivity (help desk site), or catastrophic event (weather, natural disaster, vandalism) that causes an interruption in help desk service provided by <Your Company> IT operations.  The plan identifies vulnerabilities and recommends measures to prevent extended help desk outages.

## Recovery teams

- Emergency Management Team (EMT)

- Disaster Recovery Team (DRT)

- IT Technical Services (IT)

See Appendix A for details on the roles and responsibilities of each team.

## Team member responsibilities

- Each team member will designate an alternate/backup.

- All team members should keep an updated calling list of team members’ work, home and cell phone numbers both at home and at work.

- All team members should keep this plan for reference at home in case the disaster happens after normal work hours. All team members should familiarize themselves with the contents of this plan.

## Instructions for using the plan

### Invoking the plan

This plan becomes effective when a situation that threatens continued help desk operations occurs. Normal problem management procedures will invoke the plan, and remain in effect until help desk operations are resumed at the original location, or a replacement location and control is returned to help desk management.

### Disaster declaration

The Senior Management Team, with input from the EMT, DRT and IT, is responsible for declaring a disaster and activating the various help desk recovery teams as outlined in this plan.

In a major disaster situation affecting multiple help desk units, the decision to declare a disaster will be determined by <Your Company> senior management. The EMT and DRT will respond based on the directives specified by Senior Management.

### Notification

Regardless of the help desk disruption circumstances, or the identity of the person(s) first made aware of the disaster, the EMT and DRT be activated immediately in the following cases:

- Two or more systems and/or sites are down concurrently for three or more hours.

- Five or more systems and/or sites are down concurrently for three or more hours.

- Any problem at any help desk system or network facility that would cause either of the above conditions to be present or there is certain indication that either of the conditions is about to occur.

### External communications

Corporate Public Relations personnel are designated as the principal contacts with the media (radio, television and print), regulatory agency, government agencies and other external organizations following a formal help desk disaster declaration.

### Emergency management standards

Backup policy

Full and incremental backups preserve corporate help desk information and should be performed on a regular basis for audit logs and files that are irreplaceable, have a high replacement cost, or are considered critical. Backup media should be stored in a secure, geographically separate location from the original and isolated from environmental hazards.

Help-desk-specific data and document retention policies specify what records must be retained and for how long. All help desk units are accountable for carrying out the provisions of the instruction for records in their organization.

IT follows these standards for its data backup and archiving, particularly for the following:

Tape retention policy

Backup media is stored at locations that are secure, isolated from environmental hazards and geographically separate from the location housing the system.

Billing tapes

- Tapes greater than three years old are destroyed every six months.

- Tapes less than three years old must be stored locally offsite.

- The system supervisor is responsible for the transition cycle of tapes.

System image tapes

- A copy of the most current image files must be made at least once per week.

- This backup must be stored offsite.

- The system supervisor is responsible for this activity.

Offsite storage procedures

- Tapes and disks, and other suitable media are stored in environmentally secure facilities.

- Tape or disk rotation occurs on a regular schedule coordinated with the storage vendor.

- Access to backup databases and other data is tested annually.

### Emergency management procedures

The following procedures are to be followed by system operations personnel and other designated <Your Company> personnel in the event of a help desk disruption or related emergency. Where uncertainty exists, the more reactive action should be followed to provide maximum protection and personnel safety.

Note: Anyone not recognized by the IT staff as normally having business in the help desk area must be challenged by the staff who should then notify security personnel.

These procedures are furnished to <Your Company> management personnel to take home for reference. Several pages have been included to supply emergency contacts.

In the event of any situation where access to a building housing a system is denied, personnel should report to alternate locations. Primary and secondary locations are listed below.

Alternate locations 	Workplace: <Name>

- Attempt to contact your immediate supervisor or management via telephone. Home and cell phone numbers are included in this document.

Workplace: <Name>

- Attempt to contact your immediate supervisor or management via telephone. Home and cell phone numbers are included in this document.

Workplace:<Name>

- ttempt to contact your immediate supervisor or management via telephone. Home and cell phone numbers are included in this document.

### In the event of a natural disaster

In the event of a major catastrophe affecting <Your Company> help desk operations, immediately notify < Name or title of person>.

| Procedure | STEP | ACTION |
| --- | --- | --- |
|  | 1 | Notify EMT and DRT of pending event, if time permits. |
|  | 2 | If impending natural disaster can be tracked, begin preparation of site within 48 hours as follows: Deploy portable generators with fuel within 100 miles. Deploy support personnel, tower crews and engineering within 100 miles. Deploy tractor trailers with replacement work space, antennas, power, computers and phones. Put facilities department on standby for replacement shelters. Acquire basic necessities: Cash for one week Food and water for one week Gasoline and other fuels Supplies, including chainsaws, batteries, rope, flashlights, medical supplies, etc. |
|  | 3 | 24 hours prior to event: Create an image of the system and files. Back up critical system elements. Verify backup generator fuel status and operation. Create backups of e-mail, file servers, etc. Fuel vehicles and emergency trailers. Notify Senior Management. |

### In the event of a fire

If fire or smoke is present in the facility where a help desk is located, evaluate the situation and determine the severity, categorize the fire as “Major” or “Minor”, and take the appropriate action as defined in this section. Call 9-1-1 as soon as possible if the situation warrants it.

- Personnel are to attempt to extinguish minor fires (e.g., single hardware component or paper fires) using hand-held fire extinguishers located throughout the facility. Any other fire or smoke situation will be handled by qualified building personnel until the local fire department arrives.

- In the event of a major fire, call 9-1-1 and immediately evacuate the area.

- In the event of any emergency situation, system security, site security and personal safety are the major concerns. If possible, the help desk and/or IT operations supervisor should remain present at the facility until the fire department has arrived.

- In the event of a major catastrophe affecting the facility, immediately notify Senior Management.

| Procedure | STEP | ACTION |
| --- | --- | --- |
|  | 1 | Dial 9-1-1 to contact the fire department. |
|  | 2 | Immediately notify all other personnel in the facility of the situation and evacuate the area. |
|  | 3 | Alert emergency personnel on: PHONE NUMBERS Provide them with your name, extension where you can be reached, building, room number, and the nature of the emergency. Follow all instructions given. |
|  | 4 | Alert the EMT and DRT. Note: During non-staffed hours, security personnel will notify the senior executive responsible for the location directly. |
|  | 5 | Notify building security. Local security personnel will establish security at the location and not allow access to the site unless notified by the senior executive or his/her designated representative. |
|  | 6 | Contact appropriate vendor personnel to aid in the decision regarding the protection of equipment if time and circumstance permit. |
|  | 7 | All personnel evacuating the facilities will meet at their assigned outside location (assembly point) and follow instructions given by the designed authority. Under no circumstances may any personnel leave without the consent of supervision. |

### In the event of a network services provider outage

In the event of a network service provider outage to any help desk location, the guidelines and procedures in this section are to be followed.

| Procedure | STEP | ACTION |
| --- | --- | --- |
|  | 1 | Notify Senior Management of outage. Determine cause of outage and timeframe for its recovery. |
|  | 2 | If outage will be greater than one hour, route all calls via alternate services. If it is a major outage and all carriers are down and downtime will be greater than 12 hours, deploy satellite phones, if available. |

### In the event of a flood or water damage

In the event of a flood or water damage within any help desk location, the guidelines and procedures in this section are to be followed.

| Procedure | STEP | ACTION |
| --- | --- | --- |
|  | 1 | Assess the situation and determine if outside assistance is needed; if this is the case, dial 9-1-1 immediately. |
|  | 2 | Immediately notify all other personnel in the facility of the situation and to be prepared to cease voice operations accordingly. |
|  | 3 | Immediately notify all other personnel in the facility of the situation and to be prepared to cease operations accordingly. |
|  | 4 | Water detected below the raised floor may have different causes: If water is slowly dripping from an air conditioning unit and not endangering equipment, contact repair personnel immediately. If water is of a major quantity and flooding beneath the floor (water main break), immediately implement power-down procedures. While power-down procedures are in progress, evacuate the area and follow management’s instructions. |

## Plan review and maintenance

This help desk plan must be reviewed semi-annually and exercised on an annual basis. The test may be in the form of a walk-through, mock disaster, or component testing. Additionally, considering the dynamic environment within <Your Company>, it is important to review the listing of personnel and phone numbers contained within the help desk plan regularly.

The hard-copy version of the help desk plan will be stored in a common location where it can be viewed by site personnel and the EMT and DRT. Electronic versions will be available via <Your Company> network resources as provided by IT. Each recovery team will have its own directory with change management limited to the recovery plan coordinator.

# Alert/Verification/Declaration phase (x-x hours)

## Plan checklists

Response and recovery checklists and plan flow diagrams are presented in the following two sections. The checklists and flow diagrams may be used by IT members as "quick references" when implementing the help desk plan or for training purposes.

## Plan checklists

| Initials | Task to be completed |
| --- | --- |

## Flow Diagrams

## Notification of incident affecting the site

On-duty personnel responsibilities

If in-hours:

Upon observation or notification of a potentially serious situation during working hours at a help desk location, ensure that personnel on site have enacted standard emergency and evacuation procedures if appropriate and notify the EMT and DRT.

If out of hours:

IT personnel should contact the EMT and DRT.

## Provide status to EMT and DRT

Contact EMT and/or DRT and provide the following information when any of the following conditions exist: (See Appendix B for contact list)

- Two or more help desk facilities are down concurrently for three or more hours.

- Any problem at any system or location that would cause the above condition to be present or there is certain indication that the above condition is about to occur.

The EMT will provide the following information:

- Location of incident.

- Type of incident (e.g., fire, hurricane, flood).

- Summarize the damage (e.g., minimal, heavy, total destruction).

- Meeting location that is a safe distance from the disaster scene.

- An estimated timeframe of when a damage assessment group can enter the facility (if possible).

- The EMT will contact the respective team leader and report that a disaster involving help desk operations has occurred.

The EMT and/or DRT will contact the respective <Your Company> team leader and report that a disaster affecting the help desk has occurred.

## Decide course of action

Based on the information obtained, the EMT and/or DRT decide how to respond to the event: mobilize IT, repair/rebuild existing help desk site(s) with location staff, or relocate to a new facility.

## Inform team members of decision

If a disaster is not declared, the location response team will continue to address and manage the situation through its resolution and provide periodic status updates to the EMT/DRT.

If a disaster is declared, the EMT and/or DRT will notify IT immediately for deployment.

Declare a disaster if the situation is not likely to be resolved within predefined time frames. The person who is authorized to declare a help desk disaster must also have at least one backup who is also authorized to declare a disaster in the event the primary person is unavailable.

## Contact general vendors (see Appendix I)

# Disaster declared: Mobilize incident response/Technical services teams / Report to command center

Once a help desk disaster is declared, the Disaster Recovery Team is mobilized. This team will initiate and coordinate the appropriate recovery actions. Help desk employees should assemble at designated location as soon as possible. See Appendix E for emergency locations.

## Conduct detailed damage assessment (This may also be performed prior to declaring a disaster)

1.	Under the direction of local authorities and/or EMT/DRT, assess the damage to the affected help desk location and/or assets. Include vendors/providers of installed equipment to ensure that their expert opinion regarding the condition of the equipment is determined ASAP.

A.	Participate in a briefing on assessment requirements, reviewing:

(1)	Assessment procedures

(2)	Gather requirements

(3)	Safety and security issues

NOTE: Access to the facility following a fire or potential chemical contamination will likely be denied for 24 hours or longer.

- Document assessment results using Assessment and Evaluation Forms

contained in Appendix G.

Building access permitting:

      - Conduct an on-site inspection of affected areas to assess damage to essential help desk hardcopy records (files, manuals, contracts, documentation, etc.) and electronic data.

      - Obtain information regarding damage to the help desk site(s), e.g., environmental conditions, physical structure integrity, furniture, and fixtures) from the DRT.

2.	Develop a restoration priority list, identifying facilities, vital records and equipment needed for resumption of help desk activities that could be operationally restored and retrieved quickly.

3.	Recommendations for required resources.

## Contact DRT: Decide whether to continue to business recovery phase

The EMT and DRT gather information regarding the event; contact Senior Management and provide them with detailed information on status.

Based on the information obtained, Senior Management decides whether to continue to the business recovery phase of this help desk plan. If the situation does not warrant this action, continue to address the situation at the affected site(s).

# Business recovery phase (xx hours - Full recovery)

This section documents the steps necessary to activate help desk recovery plans to support full restoration of systems or facility functionality at an alternate/recovery site that would be used for an extended period of time. Coordinate resources to reconstruct help desk operations at the temporary/permanent system location, and to deactivate recovery teams upon return to normal help desk operations.

## <Your Company> System and facility operation requirements

The system and facility configurations for each location are important to re-establish normal help desk operations. A list for each location will be included in Appendix F.

## Notify IT Technical Services Staff/Coordinate relocation to new facility/Location

See Appendix A for IT staff associated with a new help desk location being set up as a replacement for the original site.

## Secure funding for relocation

Make arrangements in advance with suitable help desk backup location resources  such as local banks, credit card companies, hotels, office suppliers, food suppliers and others for emergency support.

## Notify EMT and corporate business units of help desk recovery start-up

Using the call list in Appendix B, notify the appropriate company personnel. Inform them of any changes to processes or procedures, contact information, hours of operation, etc. (may be used for media information).

## Operations recovered

Assuming all relevant help desk operations have been recovered to an alternate site, and employees are in place to support help desk operations, the company can declare that its help desk is functioning normally at the recovery location.

# Appendixes

## Appendix A: <Your Company> Recovery Teams

Note: See Appendix B for contact list. Suggested members to include: Senior management, human resources, corporate public relations, legal, IT services, risk management and operations.

The Emergency Management Team:

Charter:

Responsible for overall coordination of the disaster recovery effort, evaluating and determining disaster declaration, and communications with Senior Management.

Support activities:

- Evaluate which recovery actions should be invoked and activate the corresponding recovery teams.

- Evaluate and assess damage assessment findings.

- Set restoration priority based on the damage assessment reports.

- Provide Senior Management with ongoing status information.

- Act as a communication channel to corporate teams and major customers.

- Work with vendors and DRT to develop a rebuild/repair schedule.

### Disaster Recovery Team:

Note: See Appendix B for contact list.

Charter:

Responsible for overall coordination of the help desk disaster recovery effort, establishment of the emergency command area, and communications with Senior Management and the Emergency Management Team.

Support activities:

- Coordinate with EMT and Senior Management.

- Determine help desk recovery needs.

- Establish command center and assembly areas.

- Notify all company department heads and advise them to activate their plan(s) if applicable, based upon the disaster situation.

- If no help desk disaster is declared, then take appropriate action to return to normal help desk operation using regular staff.

- Determine if vendors or other teams are needed to assist with detailed damage assessment.

- Prepare post-disaster debriefing report.

- Coordinate the development of site-specific recovery plans and ensure they are updated semi-annually.

### IT Technical Support:

Charter:

IT will facilitate help desk technology restoration activities.

Support Activities:

- Upon notification of disaster declaration, review and provide support as follows:

  - Facilitate help desk technology recovery and restoration activities, providing guidance on replacement equipment and systems, as required.

  - Coordinate removal of salvageable help desk equipment at disaster site that may be used for alternate site operations.

## Appendix B: Recovery team contact lists

### Emergency Management Team

| Name | Address | Home | Mobile/Cell phone |
| --- | --- | --- | --- |

### Disaster Recovery Team

| Name | Address | Home | Mobile/Cell phone |
| --- | --- | --- | --- |

### IT Technical Services

| Name | Address | Home | Mobile/Cell phone |
| --- | --- | --- | --- |

## Appendix C: Emergency numbers

### First responders, public utility companies, others

| Name | Contact name | Phone |
| --- | --- | --- |

## Appendix D: Contact list

| Name | Address | Home | Mobile/Cell phone |
| --- | --- | --- | --- |

## Appendix E: Emergency Command Center (ECC) locations

### Emergency Command Center - <Location Name>

Primary:	Address

Room   XXXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

Alternate:	Address

Room XXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

### Emergency Command Center - <Location Name>

Primary:	Address

Room   XXXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

Alternate:	Address

Room XXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

## Appendix F: Forms

### Incident/Disaster form

Upon notification of a help desk incident/disaster situation, the On-Duty Personnel will make the initial entries into this form. It will then be forwarded to the ECC, where it will be continually updated. This document will be the running log until the help desk incident/disaster has ended and normal business has resumed.

TIME AND DATE

________________________________________________________________________

TYPE OF EVENT

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

LOCATION

________________________________________________________________________

________________________________________________________________________

BUILDING ACCESS ISSUES

________________________________________________________________________

________________________________________________________________________

PROJECTED IMPACT TO OPERATIONS

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

RUNNING LOG (ongoing events)

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

### Critical equipment status form

CRITICAL EQUIPMENT STATUS

ASSESSMENT AND EVALUATION FORM

Recovery team:	__________________________________________

[----------STATUS---------]

Equipment 		Condition	       Salvage 		Comments

1.   ___________________	______________   ______   _________________________

2.   ___________________	______________   ______   _________________________

3.   ___________________	______________   ______   _________________________

4.   ___________________	______________   ______   _________________________

5.   ___________________	______________   ______   _________________________

6.   ___________________	______________   ______   _________________________

7.   ___________________	______________   ______   _________________________

8.   ___________________	______________   ______   _________________________

9.   ___________________	______________   ______   _________________________

10.   __________________	______________   ______   _________________________

11.   __________________	______________   ______   _________________________

12.   __________________	______________   ______   _________________________

13.   __________________	______________   ______   _________________________

14.   __________________	______________   ______   _________________________

15.   __________________	______________   ______   _________________________

Legend

Condition: 	OK - Undamaged

DBU - Damaged, but usable

DS - Damaged, requires salvage before use

D - Destroyed, requires reconstruction

## Appendix G: Building evacuation information

## Appendix H: Inventory of primary equipment and network services

## Appendix I: Inventory of backup equipment and systems

## Appendix J: Approved vendor list

### Server and computer equipment suppliers

| Company name | Contact | Work | Mobile/Cell phone |
| --- | --- | --- | --- |

### Communications and network services suppliers

| Company name | Contact | Work | Mobile/Cell phone |
| --- | --- | --- | --- |

# Text boxes

Insert checklists and other relevant procedure documents here.

Insert flow diagrams and other relevant procedure documents here.

Provide evacuation procedures

Provide list of equipment and network services

Provide list of equipment