Disaster recovery facilities: A free template for conducting a physical site assessment

By Paul Kirvan, CISA, CSSP, FBCI, CBCP

Use this checklist as a guide when conducting a building risk assessment. For more information on how to use this template, read SearchDisasterRecovery's article on conducting a physical site assessment.

|  | Assessment Item | Recommended Action |
| --- | --- | --- |
|  | Building Construction |  |
| ( | Type of construction |  |
| ( | Date of construction |  |
| ( | Structural integrity |  |
| ( | Floor loading per square foot |  |
|  | Building Location |  |
| ( | Proximity to major highways, streets |  |
| ( | Proximity to rail lines |  |
| ( | Proximity to aircraft flight paths |  |
| ( | Proximity to bodies of water, e.g., rivers, lakes, oceans |  |
| ( | Traffic control devices |  |
| ( | Proximity to other buildings |  |
| ( | Proximity to earthquake zones |  |
| ( | Weather patterns |  |
| ( | CCTV cameras around the site |  |
|  | Parking Facilities |  |
| ( | Parking layout |  |
| ( | Number of entrances |  |
| ( | Security available to inspect vehicles |  |
| ( | CCTV cameras in place at entrances, exits and on each floor |  |
| ( | Number of exits |  |
| ( | Sufficient capacity for vehicles |  |
| ( | Construction of ramps, parking space |  |
|  | Building Access Security |  |
| ( | Number of building entrances |  |
| ( | Security provisions at entrances |  |
| ( | Access methods, e.g., cards, guards |  |
| ( | Shatterproof glass on street-level windows |  |
| ( | Bollards in street to prevent vehicles from crashing into building |  |
| ( | CCTV cameras |  |
| ( | Monitoring of exterior cameras |  |
| ( | Length of video recording for CCTVs |  |
|  | Building Exits |  |
| ( | Number and location |  |
| ( | Method of leaving building |  |
| ( | Access to exists from stairwells |  |
| ( | CCTV cameras at exits |  |
| ( | Exits clearly marked and exit routes identified on each floor and hallway |  |
|  | Stairways |  |
| ( | Number and location of stairways |  |
| ( | Method of entry into stairwells |  |
| ( | Method of re-entry into floors |  |
| ( | CCTV cameras in stairwells |  |
| ( | Emergency lighting in stairwells |  |
| ( | Signage in stairwells |  |
| ( | PA speakers in stairwells |  |
| ( | Fire protection equipment |  |
|  | HVAC Facilities |  |
| ( | Location of HVAC equipment |  |
| ( | Power supplies for HVAC |  |
| ( | Backup HVAC systems |  |
| ( | Monitoring of HVAC systems |  |
| ( | Monitoring of air quality |  |
| ( | Environmental controls on floors |  |
| ( | Fire protection equipment |  |
|  | Utilities – General |  |
| ( | Access into building for utilities: how many, where located |  |
| ( | Secure room for utilities entry into building |  |
| ( | Fire protection equipment |  |
| ( | Shut-off switches |  |
| ( | Signage at appropriate locations |  |
|  | Utilities – Electric |  |
| ( | Location of entry facilities |  |
| ( | Location of breakers |  |
| ( | Cable routing and protection |  |
| ( | Power distribution to floors |  |
| ( | Firestop material at floor/wall/ceiling penetrations |  |
| ( | Lightning protection |  |
| ( | Grounding and bonding |  |
| ( | Fire protection equipment |  |
|  | Utilities – Water and Sewer |  |
| ( | Entry points into building |  |
| ( | Location of mains |  |
| ( | Placement of water towers |  |
| ( | Routing of water lines, sewer lines |  |
| ( | Leakage notification |  |
| ( | Fire protection equipment |  |
|  | Utilities – Gas |  |
| ( | Entry points into building |  |
| ( | Location of mains |  |
| ( | Routing of gas lines |  |
| ( | Gas leak notification |  |
| ( | Fire protection equipment |  |
|  | Utilities – Telecommunications |  |
| ( | Entry points into building |  |
| ( | Location of mains |  |
| ( | Routing of fiber, copper cables |  |
| ( | Grounding and bonding |  |
| ( | Fire protection equipment |  |
|  | Windows |  |
| ( | Windows fixed or can be opened |  |
| ( | Glazing to minimize ultraviolet radiation |  |
| ( | Special covering to minimize wind or blast damage |  |
|  | Doors |  |
| ( | Exterior doors solid and locked |  |
| ( | Glass doors with shatterproof glass |  |
| ( | Interior doors fire-rated |  |
|  | Interior Walls |  |
| ( | Floor-to-ceiling walls fire-rated |  |
| ( | Movable partitions fire-rated |  |
| ( | Dropped ceilings use fire-rated tiles |  |
|  | Fire Detection and Suppression |  |
| ( | Notification of fires to fire department or central reporting station |  |
| ( | Building-wide fire detection system |  |
| ( | Floor-by-floor monitors |  |
| ( | Smoke detection equipment |  |
| ( | Ionization detection equipment |  |
| ( | Fire extinguishment system, e.g., dry pipe or water sprinklers |  |
| ( | Placement of fire extinguishers |  |
| ( | Signage indicating fire extinguishers |  |
| ( | Regular fire drills |  |
| ( | Building evacuation signage on each floor and in offices |  |
| ( | Fire safety plan |  |
| ( | Evacuation plan |  |
|  | Building Emergency Power |  |
| ( | Emergency power generator(s) |  |
| ( | Emergency power outlets identified |  |
| ( | Secure location for emergency generator |  |
| ( | Protected fuel tank with gauge |  |
| ( | Primary and alternate fuel suppliers |  |
| ( | Monthly power system tests |  |
| ( | Quarterly full-load system tests |  |
|  | Emergency Lighting |  |
| ( | Emergency lighting in all floors |  |
| ( | Emergency lighting in stairwells |  |
| ( | Emergency lighting by exits |  |
| ( | Regular tests of emergency lighting |  |
|  | Elevators |  |
| ( | Elevator safety inspections |  |
| ( | Power supply to elevators |  |
| ( | Emergency access to elevators |  |
| ( | All elevators return to ground floor in an emergency |  |
| ( | Emergency egress from elevators if stuck between floors |  |
| ( | Emergency phones in all elevators; test regularly to ensure they work |  |