<Client>

Business Continuity Plan

For Flooding Events

Emergency Notification Contacts

| Name | Address | Home | Mobile/Cell Phone |
| --- | --- | --- | --- |

Revisions Control Page

| Date | Summary of Changes Made | Changes Made By (Name) |
| --- | --- | --- |

Purpose

The purpose of this business continuity plan is to prepare <Client> and <Client> in the event of extended service outages caused by flooding and other water-related events beyond its control, and to restore services to the widest extent possible in a minimum time frame.  All <Client> sites are expected to implement preventive measures for flooding whenever possible to minimize operational and technology failures and to recover as rapidly as possible when a failure occurs.

The plan identifies vulnerabilities and recommends necessary measures to prevent extended service outages.  It is a plan that encompasses all <Client> system sites and operations facilities.

## Scope

The scope of this plan is limited to <describe>.  This is a business continuity plan that addresses flooding events, not a daily problem resolution procedures document.

## Plan Objectives

- Serves as a guide for the <Client> flood response and recovery teams.

- References and points to the location of any data that resides outside this document.

- Provides procedures and resources needed to assist in recovery from a flood.

- Identifies vendors and customers that must be notified in the event of a disaster.

- Assists in avoiding confusion experienced during a flooding crisis by documenting, testing and reviewing recovery procedures.

- Identifies alternate sources for supplies, resources and work locations.

- Documents storage, safeguarding and retrieval procedures for vital records.

## Assumptions

- Key people (Team Leaders or Alternates) will be available before, during and after a flooding disaster.

- A national disaster such as nuclear war is beyond the scope of this plan.

- This document and all vital records are stored in a secure off-site location and not only survived the disaster but are accessible immediately following the disaster.

- Each support organization will have its own plan consisting of unique recovery procedures, critical resource information and procedures.

## Disaster Definition

This plan addresses losses of or disruptions to business activities due to a flooding event, including loss of utility service (e.g., power, water, sewer), connectivity (e.g., network services, Internet), technology (e.g., data centers, servers, applications), facilities (e.g., office space, data center building, manufacturing facilities) that causes an interruption in the products and services provided by <Client>.  The plan identifies vulnerabilities and recommends measures to prevent extended service outages due to flooding.

## Recovery Teams

- Emergency Management Team (EMT)

- Location Response Coordinator (LRC)

- Local Restoration Team (LRT)

- Incident Response Team (IRT)

- Technical Services Engineering (TSE)

- Other <describe>

See Appendix A for details on the roles and responsibilities of each team.

## Team Member Responsibilities

- Each team member will designate an alternate backup

- All the members should keep an updated calling list of their work team members’ work, home, cell phone numbers both at home and at work.

- All team members should keep this plan for reference at home in case the flooding event occurs during and after normal work hours. All team members should familiarize themselves with the contents of this plan.

## Instructions for Using the Plan

### Invoking the Plan

This plan becomes effective when a flooding disaster occurs.  Normal problem management procedures will initiate the plan and remain in effect until operations are resumed at the original location, or a replacement location and control is returned to the appropriate functional management.

### Disaster Declaration

The Emergency Management Team and Location Response Coordinator are responsible for declaring a flood-based disaster for Technical Services and activating the various recovery teams as outlined in this plan.

In a major flooding disaster situation affecting multiple business units, the decision to declare a disaster will be determined by <Client> Corporate.  The Emergency Management Team/Location Response Coordinator will respond based on the directives specified by Corporate.

### Notification

Regardless of the flooding disaster circumstances, or the identity of the person(s) first made aware of the disaster, the Emergency Management Team (EMT) must be activated immediately in the following cases:

- Two (2) or more systems and/or sites are down concurrently for five (5) or more hours

- Five (5) or more systems and/or sites are down concurrently for five (5) or more hours

- Any problem at any system or network facility that would cause either of the above conditions to be present or there is certain indication that either of the conditions are about to occur

### External Communications

Corporate Public Relations personnel are designated as the principal contacts with the media (radio, television, and print), regulatory agency, government agencies, and other external organizations following a formal flooding disaster declaration.

### Emergency Management Standards

Backup Policy

Full and incremental backups preserve corporate information assets and should be performed on a regular basis for audit logs and files that are irreplaceable, have a high replacement cost, or are considered critical.  Backup media should be stored in a secure, geographically separate location from the original and isolated from environmental hazards.

Department specific data and document retention policies specify what records must be retained and for how long.  All organizations are accountable for carrying out the provisions of the instruction for records in their organization.

Technical Services follows these standards for its data backup and archiving:

Tape Retention Policy

Backup media is stored at locations that are secure, isolated from environmental hazards, and geographically separate from the location housing the system.

Billing Tapes

- Tapes greater than 3 years old are destroyed every 6 months.

- Tapes less than 3 years old must be stored locally offsite.

- The system supervisor is responsible for the transition cycle of tapes.

System Image Tapes

- A copy of the most current image files must be made at least once per week.

- This backup must be stored offsite.

- The system supervisor is responsible for this activity.

Offsite Storage Procedures

- Critical applications, databases, files and data are backed up and stored remotely using an approved cloud-based storage service

- Data replication and mirroring technologies are used to quickly back up critical information and systems so they are available in a timely fashion

### Emergency Management Procedures

The following procedures are to be followed by system operations personnel and other designated <Client> personnel in the event of a flooding emergency. Where uncertainty exists, the more reactive action should be followed to provide maximum protection and personnel safety.

Note:	Anyone not recognized by the Technical Services staff as normally having business in the affected area must be challenged by the staff who should then notify security personnel.

These procedures are furnished to <Client> management personnel to take home for reference. Several pages have been included to supply emergency contacts.

In the event of a flooding situation where access to a building housing a system is denied, personnel should report to alternate locations.  Primary and secondary locations are listed below.

Alternate Locations 	Workplace: <Name>

- Attempt to contact your immediate supervisor or management via telephone. Home and cell phone numbers are included in this document

Workplace: <Name>

- Attempt to contact your immediate supervisor or management via telephone. Home and cell phone numbers are included in this document

Workplace:<Name>

- Attempt to contact your immediate supervisor or management via telephone. Home and cell phone numbers are included in this document

Workplace: <Name>

- Attempt to contact your immediate supervisor or management via telephone. Home and cell phone numbers are included in this document

Workplace: <Name>

- Attempt to contact your immediate supervisor or management via telephone. Home and cell phone numbers are included in this document

Workplace: <Name>

- Attempt to contact your immediate supervisor or management via telephone. Home and cell phone numbers are included in this document.

### In the Event of Potential Flooding

In the event of a potential flooding event affecting a <Client> facility, immediately notify the <Name or Title of Person>.

| Procedure | STEP | ACTION |
| --- | --- | --- |
|  | 1 | Notify Regional Technical Manager of impending flooding event, if time permits. |
|  | 2 | If possible, flooding can be anticipated, begin preparation of site within 72 hours as follows: Deploy portable generators with fuel within 100 miles. Deploy support personnel, tower crews, and engineering within 100 miles. Deploy tractor trailers with replacement workspace, antennas, power, computers and phones. Facilities department on standby for replacement shelters Basic necessities are acquired by support personnel when deployed: Cash for 1 week Food and water for 1 week Gasoline and other fuels Supplies, including chainsaws, batteries, rope, flashlights, medical supplies, etc. |
|  | 3 | 24 hours prior to event: Create an image of the system and files Back up critical system elements Verify backup generator fuel status and operation Create backups of e-mail, file servers, virtual machines, etc. Fuel vehicles and emergency trailers Notify senior management |

### In the Event of Initial Flooding

In the event of an actual flood, mudslide or other water-based event, the guidelines and procedures in this section are to be followed.

If water is entering the facility, evaluate the situation and determine the severity, categorize the flood as Major or Minor and take the appropriate action as defined in this section.  Call 9-1-1 as soon as possible if the situation warrants it.

- If the flooding is minimal, establish water collection using buckets, and notify building maintenance about the situation until the local fire department arrives.

- In the event of a major flood, call 9-1-1 and immediately evacuate the building and surrounding area.

- In the event of emergency flooding, system site security and personal safety are the major concerns. If possible, the operations supervisor should remain present at the facility until the fire department has arrived.

- In the event of a major flooding catastrophe affecting the facility, immediately notify the Regional Technical Manager.

| Procedure | STEP | ACTION |
| --- | --- | --- |
|  | 1 | Dial 9-1-1 to contact the fire department |
|  | 2 | Immediately notify all other personnel in the facility of the flooding situation and evacuate the area. |
|  | 3 | Alert emergency personnel on: PHONE NUMBERS Provide them with your name, extension where you can be reached, building and room number, and the nature of the emergency. Follow all instructions given. |
|  | 4 | Alert the Regional Technical Manager. He/she will notify the Emergency Management Team Coordinator. Note: During non-staffed hours, security personnel will notify the Regional Technical Manager responsible for the location directly. |
|  | 5 | Notify Building Security. Local security personnel will establish security at the location and not allow access to the site unless notified by the Regional Technical Manager or his designated representative |
|  | 6 | Contact appropriate vendor personnel to aid in the decision regarding the protection of equipment if time and circumstance permit |
|  | 7 | All personnel evacuating the facilities will meet at their assigned outside location (assembly point) and follow instructions given by the designated authority. Under no circumstances should personnel evacuate without the consent of supervision. |

### In the Event of Severe Flood and/or Water Damage

In the event of a flood or broken water pipe within any computing facilities, the guidelines and procedures in this section are to be followed.

| Procedure | STEP | ACTION |
| --- | --- | --- |
|  | 1 | Assess the situation and determine if outside assistance is needed; if this is the case, dial 9-1-1 immediately. |
|  | 2 | Immediately notify all other personnel in the facility of the situation and to be prepared to cease operations and evacuate staff accordingly. |
|  | 3 | If water is originating from above the equipment, power down the individual devices and cover with protective shrouds located in the facility. |
|  | 4 | Water detected below the raised floor may have different causes: — If water is slowly dripping from an air conditioning unit and not endangering equipment, contact repair personnel immediately. — If water is of a major quantity and flooding beneath the floor (water main break), immediately implement power-down procedures. While power-down procedures are in progress, evacuate the area and follow supervisor’s instructions. |
|  | 5 | Notify the resources supporting backup systems and facilities, particularly cloud-based vendors. — Alert the vendor(s) that flooding has occurred and that a failover to the backup system(s) may be needed. — Assuming on-premises systems have been powered down or are unavailable, commence failover of critical systems to their backed-up alternatives — Confirm that backed-up systems and network services are operational and can support business operations — Commence use of alternate systems and network services |

## Plan Review and Maintenance

This plan is intended to be a living document and as such must be reviewed on a regular basis.  The plan will be reviewed semi-annually and exercised on an annual basis.  The test may be in the form of a walk-through, mock disaster, or component testing.  Additionally, with the dynamic environment present within <Client>, it is important to review the listing of personnel and phone numbers contained within the plan regularly.

The plan will be stored in a common location where it can be viewed by system site personnel and the Emergency Management Team.  Each recovery team will have its own directory with change management limited to the recovery plan coordinator.

Electronic versions of this plan will be made available to employees as well as emergency personnel for access via their smart phones or remotely in their home offices.

The Recovery Plan Coordinator will be responsible for the plan.  A recovery plan coordinator will be assigned for each company location.  Their specific responsibilities are as follows:

Frequency of plan update:  Quarterly or when there is a change in personnel

- Provide electronic and hard copies of plan to all team members.  Team members must store hard copy at home, in a personal car, and electronically via a hand-held device, smart phone or laptop computer.

- Regularly review and update information in the associated technology disaster recovery plan (e.g., contact lists, equipment inventories).  Communicate with the Emergency Management Coordinator to get up-to-date information periodically.

- Hold initial team meeting to get team members acquainted with the plan and hold annual/semi-annual meetings to review the plan on an ongoing basis.

- Maintain an accurate record of the locations of alternate sites, equipment suppliers, data storage locations, cleaning and restoration companies, portable power generators and implementation plans.

# Alert/Verification/ Declaration Phase (x-x hours)

## Plan Checklists

Response and recovery checklists and plan flow diagrams are presented in the following (2) sections.  The checklists and flow diagrams may be used by Technical Services members as "quick references" when implementing the plan or for training purposes.

## Plan Checklists

| Initials | Task to be completed |
| --- | --- |

## Flow Diagrams

## Notification of Incident Affecting the Site

On-Duty Personnel Responsibilities

If In-Hours:

Upon observation or notification of a potentially serious flooding situation during working hours at a system/facility, ensure that personnel on site have enacted standard emergency and evacuation procedures if appropriate and notify the Location Response Coordinator.

If Out of Hours:

Technical Services personnel should contact the Location Response Coordinator.

## Provide Status to EMT

1.	The Location Response Coordinator (LRC) will contact the Emergency Management Team (EMT) and provide the following information when any of the following conditions exist: (See Appendix B for contact list)

- 5 or more facilities are down concurrently for 5 or more hours.

- Any flood-based problem at any system or location that would cause the above condition to be present or there is certain indication that the above condition is about to occur.

The LRC will provide the following information:

- Location of disaster

- Type of disaster (e.g., flood, severe weather, mudslide)

- Summarize the damage (e.g., minimal, heavy, total destruction)

- Emergency Command Center location and phone contact number; a meeting location that is close to the situation, but away from the disaster scene

- An estimated timeframe of when a damage assessment group can enter the facility (if possible)

The EMT will contact the respective market team leader and report that a flooding disaster has taken place.

## Decide Course of Action

Based on the information obtained, the EMT decides (with the LRC) how to respond to the event: mobilize IRT, clean up, repair and/or rebuild existing site (s) with location staff, or relocate to a new facility.

xxxxx

## Inform Team Members of Decision

If a disaster is not declared, the location response team will continue to address and manage the flooding event through its resolution and provide periodic status updates to the EMT.

If a disaster is declared, the Location Response Coordinator will notify the Incident Response Team members immediately for deployment.

Declare a disaster if the flooding situation is not likely to be resolved within predefined time frames.  The person who is authorized to declare a flooding disaster must also have at least one (1) backup who is also authorized to declare a disaster in the event the primary person is unavailable.

## EMT Notifies Account Teams/Customers

Using the call list in (Appendix D), EMT members contact team members to inform them of the situation related to the flood.  If known, advise as to when operations will be restored or what actions will be taken to restore operations.

## Contact General Vendors (see Appendix I)

# Disaster Declared: Mobilize Incident Response Team / Report to Command Center

Once a flood-based disaster is declared, the Incident Response Team (IRT) is mobilized. This recovery team will initiate and coordinate the appropriate recovery actions. IRT members assemble at the Command Center as quickly as possible.  See Appendix E for Regional Command Center Locations.

The LRT remains at the affected site to perform a preliminary flood damage assessment (if permitted) and gather information until the IRT arrives.

## Conduct Detailed Flood Damage Assessment (This may also be performed prior to declaring a disaster)

1.	Under the direction of local authorities and/or LRC/IRT assess the flood damage to the affected location and/or assets.  Include vendors/providers of installed equipment to ensure that their expert opinion regarding the condition of the equipment is determined ASAP.

A.	Participate in a briefing on assessment requirements, reviewing:

(1)	Assessment procedures

(2)	Gather requirements

(3)	Safety and security issues

NOTE:  Access to the facility following a flood will likely be denied for 24 hours or longer.

- Document assessment results using Assessment and Evaluation Forms

contained in Appendix G

Building access permitting:

- Conduct an on-site inspection of affected areas to assess flood damage to essential hardcopy records (files, manuals, contracts, documentation, etc.) and electronic data

- Obtain information regarding flood damage to the facility (s) (e.g., environmental conditions, physical structure integrity, furniture, and fixtures) from the LRC/LRT.

2.	Develop a Restoration Priority List, identifying facilities, vital records and equipment needed for resumption activities that could be operationally restored and retrieved quickly following the flood

3.	Develop a Salvage Priority List identifying sites and records which could eventually be salvaged

4.	Recommendations for required resources

5.	Contact the EMT and decide whether the situation requires the initiation of business continuity plans (long-term disaster duration) or if work can return to the primary location (short-term, a week or so).

## Contact EMT / Decide Whether to Continue to Business Recovery Phase

The LRC gathers information from the IRT and other sources; contacts the EMT and provides the EMT with detailed flood damage assessment information.

Based on the information obtained from the LRC, the EMT decides whether to continue to the business recovery phase of this plan.  If the situation does not warrant this action, continue to address the situation at the affected site (s).  Provide periodic status updates to the EMT Leader.

The business recovery phase of this plan will be implemented when resources are required to support full restoration of system and/or facility functionality at an alternate recovery site (e.g., another company office, cloud-based recovery site) that would be used for an extended period of time.

NOTE:  During the Initial Response Phase, service may be shifted to alternate sites to allow operations to begin functioning and provide service to customers.  Initially reduced service may be provided until sites can be fully restored.  Within XX hours/xx days the system and facilities should be functional at 100%.

# Business Recovery Phase (xx hours - Full Recovery)

This section documents the steps necessary to activate business recovery plans to support full restoration of systems or facility functionality at an alternate/recovery site (e.g., working from home) that would be used for an extended period of time following a flood.  Coordinate resources to reconstruct business operations at the temporary/permanent system location, and to deactivate recovery teams upon return to normal business operations.

## <Client> System and Facility Operation Requirements

The system and facility configurations for each location are important to re-establish normal operations.  A list for each location will be included in Appendix F. Notify Technical Engineering Staff / Coordinate Relocation to New Facility/Location

See Appendix A for Technical Engineering staff contacts associated with a new location being set up as a permanent location (replacement site).

## Secure Funding for Relocation

Make arrangements in advance with suitable backup location resources.  Make arrangements in advance with local banks, credit card companies, hotels, office suppliers, food suppliers and others for emergency support.  Arrange with third-party technology suppliers, such as cloud vendors, to support business operations. Depending on the incident, its severity and alternate location option selected, contact the appropriate alternate site organization, the local bank office and other relevant firms.

## Notify EMT and Corporate Business Units of Post-Flood Recovery Start-Up

Using the call list in Appendix B, notify the appropriate company personnel.  Inform them of any changes to processes or procedures, contact information, hours of operation, etc. (may be used for media information)

## Operations Recovered

Assuming all relevant operations have been recovered to an alternate site, and employees are in place to support operations or working remotely from home, the company can declare that it is functioning in a normal manner at the recovery location(s).

# Appendixes

## Appendix A: <Client> Recovery Teams

### Emergency Management Team (EMT)

Note:  See Appendix B for contact list.  Suggested members to include:  Senior management, Human Resources, Corporate Public Relations, Legal, Information Systems, Risk Management and Operations

Charter:

Responsible for overall coordination of the flood disaster recovery effort, evaluation and determining disaster declaration, and communications with senior management

Support Activities:

The Emergency Management Team:

- Evaluate which recovery actions should be invoked and activate the corresponding recovery teams.

- Evaluate and assess flood damage assessment findings

- Set restoration priority based on flood damage assessment reports

- Provide senior management with ongoing status information

- Acts as a communication channel to corporate teams and major customers

- Work with vendors and IRT to develop a rebuild/repair schedule

### Location Response Coordinator (LRC)

Note:  See Appendix B for contact list.  Recommend that the Regional Technical Managers assume this role.

Charter:

Responsible for overall coordination of the flood disaster recovery effort for their region, establishment of a command center, and communications with Emergency Management Team

Support Activities:

- Notify the Incident Recovery Team

- Gather flood damage assessment information and report it to EMT

- Determine recovery needs.

- Establish command center and related operations.  The command center is a prearranged meeting facility where EMT/LRT/IRT members meet to coordinate flood damage assessment and business recovery tasks for the affected operations.

- Notify all Team Leaders and advise them to activate their plan (s) if applicable, based upon the flooding disaster situation

- If no flood-based disaster is declared, then take appropriate action to return to normal operation using regular staff.

- Determine if vendors or other teams are needed to assist with detailed flood damage assessment.

- Prepare post-disaster debriefing report

- Coordinate the development of site-specific recovery plans and ensure they are updated semi-annually.

### Location Response Team (LRT)

Note:  See Appendix B for contact list.  Recommend that technicians and other suitably trained staff located at the affected location assume this role.

Charter:

The Location Response Team (LRT) is responsible for the initial alerting/notification of the flooding situation to the LRC during normal business hours. During off hours, the LRT will be notified along with the LRC.  In the event of a flood-based disaster declaration, this team will become a part of the Incident Response Team.

Support Activities:

- Provide the following information to the LRC in the event of an outage:

a.       Type of event

b.       Location of occurrence

c.       Time of occurrence

- Coordinate resumption of voice and data communications:

a.      Work with management to re-route voice and data lines, especially when alternate

site(s) or alternate work locations are predefined

b.      Recover voice mail and electronic mail systems when requested by EMT.

c.      Verify voice mail and electronic mail are operational at the alternate site.

d.      Review the <Client> Minimum Acceptable Operational Requirements checklist to

determine if sufficient resources are in place to support operations

- Coordinate resumption of information system operations:

a.      Work with management to recover critical systems, applications and infrastructure

at recovery site (s) or alternate work locations or remotely working from home

b.      Recover critical data files and related information when requested by EMT

c.      Ensure that network and perimeter security is re-established at alternate location(s)

c.      Verify normal, secure operation of systems and servers at alternate site(s)

d.      Review the <Client> Minimum Acceptable Operational Requirements checklist to

determine if sufficient resources are in place to support operations

### Incident Response Team (IRT)

Note:  See Appendix B for contact list.  Recommend that Facility Supervisors and other suitably trained staff assume this role.  Also included in this team should be members of IT’s System Deployment group.

Charter:

The Incident Response Team (IRT) is formed to deploy to the disaster location when a flood disaster is declared.

Support Activities

- Provide recovery support to the affected location and operations

- Coordinate resumption of voice and data communications:

a.      Work with management to re-route voice and data lines, especially when alternate

site(s) or alternate work locations and working from home are predefined

b.      Recover voice mail and electronic mail systems when requested by EMT.

c.      Verify voice mail and electronic mail are operational at the alternate site.

d.      Review the <Client> Minimum Acceptable Operational Requirements checklist to

determine if sufficient resources are in place to support operations

- Coordinate resumption of information system operations:

a.      Work with management and third=-party organiozait0ons (e.g., cloud service firms)

to recover critical systems, applications and infrastructure at recovery site(s) or

alternate work locations

b.      Recover critical data files and related information when requested by EMT

c.      Ensure that network and perimeter security is re-established at alternate location(s)

c.      Verify normal, secure operation of systems and servers at alternate site/cloud

vendor

d.      Review the <Client> Minimum Acceptable Operational Requirements checklist to

determine if sufficient resources are in place to support operations

### IT Technical Support (TS)

Charter

IT Technical Support will facilitate technology restoration activities.

Support Activities:

- Upon notification of disaster declaration, review and provide support as follows:

- Facilitate technology recovery and restoration activities, providing guidance

on replacement equipment and systems, as required.

- Coordinate removal of salvageable equipment at disaster site that may be used for alternate site operations.

## Appendix B: Recovery Team Contact Lists

### Emergency Management Team (EMT)

| Name | Address | Home | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Location Response Coordinators (LRC)

| Name | Address | Home | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Location Response Team Members (LRT) - <Location Name>

| Name | Address | Home | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Location Response Team Members (LRT) - <Location Name>

| Name | Address | Home | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Location Response Team Members (LRT) - <Location Name>

| Name | Address | Home | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Location Response Team Members (LRT) - <Location Name>

| Name | Address | Home | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Location Response Team Members (LRT) - <Location Name>

| Name | Address | Home | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Location Response Team Members (LRT) - <Location Name>

| Name | Address | Home | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Location Response Team Members (LRT) - <Location Name>

| Name | Address | Home | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Incident Response Team (IRT)

| Name | Address | Home | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Technical Services (TS)

| Name | Address | Home | Mobile/Cell Phone |
| --- | --- | --- | --- |

## Appendix C: Emergency Numbers

### First Responders, Public Utility Companies, Others

| Utility Name | Contact Name | Phone |
| --- | --- | --- |

## Appendix D: Contact List

| Name | Address | Home | Mobile/Cell Phone |
| --- | --- | --- | --- |

## Appendix E: Emergency Command Center (ECC) Locations

### Emergency Command Center - <Location Name>

Primary:	Address

Room   XXXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

Alternate:	Address

Room XXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

### Emergency Command Center - <Location Name>

Primary:	Address

Room   XXXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

Alternate:	Address

Room XXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

### Emergency Command Center - <Location Name>

Primary:	Address

Room   XXXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

Alternate:	Address

Room XXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

### Emergency Command Center - <Location Name>

Primary:	Address

Room   XXXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

Alternate:	Address

Room XXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

### Emergency Command Center - <Location Name>

Primary:	Address

Room   XXXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

Alternate:	Address

Room XXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

### Emergency Command Center - <Location Name>

Primary:	Address

Room   XXXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

Alternate:	Address

Room XXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

### Emergency Command Center - <Location Name>

Primary:	Address

Room   XXXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

Alternate:	Address

Room XXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

## Appendix F: Minimum Acceptable Recovery Configuration

## Appendix G: Forms

### Incident/Disaster Form

Upon notification of a flood-based incident/disaster situation the On-Duty Personnel will make the initial entries into this form.  It will then be forwarded to the ECC, where it will be continually updated.  This document will be the running log until the incident/disaster has ended and “normal business” has resumed.

TIME AND DATE

________________________________________________________________________

TYPE OF EVENT

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

LOCATION

________________________________________________________________________

________________________________________________________________________

BUILDING ACCESS ISSUES

________________________________________________________________________

________________________________________________________________________

PROJECTED IMPACT TO OPERATIONS

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

RUNNING LOG (ongoing events)

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

### Critical Equipment Status Form

CRITICAL EQUIPMENT STATUS

ASSESSMENT AND EVALUATION FORM

Recovery Team:	__________________________________________

[----------STATUS---------]

Equipment 		Condition	      Salvage 		Comments

1.  ___________________	______________  ______  _________________________

2.  ___________________	______________  ______  _________________________

3.  ___________________	______________  ______  _________________________

4.  ___________________	______________  ______  _________________________

5.  ___________________	______________  ______  _________________________

6.  ___________________	______________  ______  _________________________

7.  ___________________	______________  ______  _________________________

8.  ___________________	______________  ______  _________________________

9.  ___________________	______________  ______  _________________________

10.  __________________	______________  ______  _________________________

11.  __________________	______________  ______  _________________________

12.  __________________	______________  ______  _________________________

13.  __________________	______________  ______  _________________________

14.  __________________	______________  ______  _________________________

15.  __________________	______________  ______  _________________________

Legend

Condition: 	OK - Undamaged

DBU - Damaged, but usable

DS - Damaged, requires salvage before use

D - Destroyed, requires reconstruction

## Appendix H: Building Evacuation Information

## Appendix I: Inventory of Primary Equipment and Systems

## Appendix J: Inventory of Backup Equipment and Systems

## Appendix K: Approved Vendor List

### Server and Computer Equipment Suppliers

| Company Name | Contact | Work | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Communications and Network Services Suppliers

| Company Name | Contact | Work | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Clean-up and Damage Repair Companies

| Company Name | Contact | Work | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Electrical Contractors

| Company Name | Contact | Work | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Excavating Contractors

| Company Name | Contact | Work | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Emergency Generators

| Company Name | Contact | Work | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Mechanical Engineering (HVAC, Facilities, etc.)

| Company Name | Contact | Work | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Plumbing

| Company Name | Contact | Work | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Site Security Services

| Company Name | Contact | Work | Mobile/Cell Phone |
| --- | --- | --- | --- |

### Additional Suppliers / Contractors

| Company Name | Contact | Work | Mobile/Cell Phone |
| --- | --- | --- | --- |

# Text boxes

Insert checklists and other relevant procedure documents here.

Insert flow diagrams and other relevant procedure documents here.

Specify this information, e.g., desks, computers, phones, fax machines, copiers, desktop systems needed; define security arrangements, access to data and network access

Provide evacuation procedures

Provide list of equipment

Provide list of equipment