Network Disaster Recovery Plan

By Paul Kirvan, FBCI, CBCP, CISA

<Your Company>

Use this template as a framework for organizing your network disaster recovery program and associated plans. For more information, read the accompanying article on SearchDisasterRecovery.com about network disaster recovery plans.

Emergency notification contacts

| Name | Address | Home Phone | Mobile/Cell Phone |
| --- | --- | --- | --- |

Emergency response activities

|  | Action | Who Performs |
| --- | --- | --- |
| 1. | Identify and assess network outage | Lead network administrator |
| 2. | Review with IT management | Lead network admin, director of net. ops |
| 3. | Evacuate area if necessary | Building security |
| 4. | Initiate remedial actions to recover network assets | Lead network administrator or designee |
| 5. | Decision to invoke network DR plan | Director of network operations, CIO |
| 6. | Initiate DR plan activities | Lead network administrator or designee |
| 7. | Contact appropriate vendors and carriers | Lead network administrator or designee |
| 8. | Follow through on recovery procedures | Network administration team |
| 9. | Report to senior IT management | Lead network administrator or designee |

Revisions control page

| Date | Summary of changes made | Changes made by (Name) |
| --- | --- | --- |

Purpose

The purpose of this network disaster recovery (NDR) plan is to prepare <Your Company> in the event of disruptions affecting corporate local area networks (LAN), wide area networks (WAN), Internet access and wireless network services due to factors beyond our control (e.g., natural disasters or man-made events).  This plan will also guide restoration of network integrity and normal operations to the widest extent possible in a minimum time frame.  All <Your Company> locations that are connected to the WAN are expected to implement preventive measures whenever possible to minimize operational disruptions and to recover as rapidly as possible when an incident occurs.

This plan identifies vulnerabilities and recommends necessary measures to prevent extended network outages.  It is a plan that encompasses all <Your Company> network operations in all locations.

## Scope

The scope of this plan is limited to <describe>.  This is a disaster recovery (DR) plan, not a daily problem resolution procedures document.

## Plan Objectives

- Serves as a guide for <Your Company’s> IT voice, data, Internet and wireless network recovery teams

- References and points to the location of network operational data outside this document

- Provides procedures and resources needed to assist in network recovery

- Identifies vendors and customers that must be notified in the event of a network outage

- Assists in avoiding confusion experienced during a network disruption by documenting, testing and reviewing recovery procedures

- Identifies alternate sources for network equipment, network services, power supplies and other resources

- Documents storage, safeguarding and retrieval procedures for vital network records and other relevant data

## Assumptions

- Key network people (lead administrator, administrators, team leaders, technicians and alternates) will be available following a disaster

- This plan and critical network documents are stored in a secure off-site location and not only survived the disaster but are accessible immediately following a disaster

- Other IT departments and support organizations will have their own DR plans

## Disaster definition

Any loss of carrier services (such as local access, wide-area network channels or Internet access), voice/data connectivity (such as routers, switches, PBXs or VoIP systems), or natural or man-made disaster that causes an interruption in network connectivity relating to voice, data, Internet and wireless technologies provided by <Your Company’s> IT operations.  This plan identifies vulnerabilities and recommends measures to prevent extended network outages.

## Recovery teams

- Emergency Management Team (EMT)

- Disaster Recovery Team (DRT)

- IT Technical Support (IT) for Networking

See Appendix A for details on the roles and responsibilities of each team.

## Team member responsibilities

- Each team member will designate an alternate/backup.

- All team members should keep an updated calling list of team members’ work, home and cell phone numbers both at home and at work.

- All team members should keep this plan for reference at home in case a network disaster happens after normal work hours. All team members should familiarize themselves with the contents of this plan.

## Instructions for using the plan

### Invoking the plan

If an initial assessment of the network disruption indicates a potentially prolonged outage (e.g., longer than eight hours), this plan becomes effective when approved by senior IT management.  The plan will remain in effect until network operations are resumed at all affected locations.

### Disaster declaration

The Senior Management Team, with input from the Emergency Management Team, Disaster Recovery Team and IT Technical Support, is responsible for declaring a disaster and activating network recovery teams as outlined in this plan.

In a major disaster situation affecting multiple company locations, the decision to declare a disaster will be determined by <Your Company’s> senior management.  The Emergency Management Team and Disaster Recovery Team will respond based on the directives specified by senior management.

### Notification

Regardless of the network disruption circumstances, or the identity of the person(s) first made aware of the disaster, the Emergency Management Team (EMT) and Disaster Recovery Team (DRT) must be activated immediately in the following cases:

- Two or more systems and/or sites are down concurrently for three (3) or more hours.

- Five or more systems and/or sites are down concurrently for three (3) or more hours.

- Any problem involving a voice/data/Internet/wireless network facility that would cause either of the above conditions to be present or there is certain indication that either of the conditions is about to occur.

### External communications

Corporate Public Relations personnel are designated as the principal contacts with the media (radio, television, and print), regulatory agency, government agencies and other external organizations following a formal network disaster declaration.

### Emergency management standards

Backup policy

Full and incremental backups protect and preserve corporate network information and should be performed on a regular basis for system logs and technical documents that are not easily replaced, have a high replacement cost or are considered critical.  Backup media should be stored in a secure and geographically separate location from the original and isolated from environmental hazards.  Backup network components, cabling and connectors, power supplies, spare parts and relevant documentation should be stored in a secure area on-site as well as at other corporate locations.

Network-specific data and document retention policies specify what records must be retained and for how long.  All network organizations are accountable for carrying out instructions for records management in their organization.

IT Technical Support follows these standards for data backup and archiving, particularly for networks:

Tape retention policy

Backup media is stored at locations that are secure, isolated from environmental hazards, and geographically separate from the location housing network components.

Tapes (if used)

- Tapes greater than three years old are destroyed every six months.

- Tapes fewer than x years old must be stored locally offsite.

- The system supervisor is responsible for the transition cycle of tapes.

System databases

- A copy of the most current network and system databases must be made at least twice per month or based on frequency of changes made.

- These backups must be stored offsite.

- The lead network administrator is responsible for this activity.

Offsite storage procedures

- Tapes, disks and other suitable media are stored in environmentally secure facilities.

- Tape or disk rotation occurs on a regular schedule coordinated with the storage vendor.

- Access to backup databases and other data is tested annually.

### Emergency management procedures

The following procedures are to be followed by network administration and operations personnel and other designated <Your Company> employees in the event of a network disruption or related outage.  Where uncertainty exists, the more reactive action should be followed to provide maximum protection and personnel safety.

These procedures are furnished to <Your Company’s> management personnel to take home for reference. Several pages have been included to supply emergency contacts.

In the event of any situation where access to a building housing network infrastructure equipment is denied, personnel should report to alternate locations or contact security for access if the location is not damaged or quarantined.  Primary and secondary locations are listed below.

Alternate Locations 	Workplace: <Name>

- Attempt to contact your immediate supervisor or management via telephone. Home and cell phone numbers are included in this document.

Workplace: <Name>

- Attempt to contact your immediate supervisor or management via telephone. Home and cell phone numbers are included in this document .

Workplace:<Name>

- ttempt to contact your immediate supervisor or management via telephone. Home and cell phone numbers are included in this document.

### In the event of a natural disaster

In the event of a major catastrophe affecting <Your Company’s> network operations, immediately notify the < Name or Title of Person>.

| Procedure | STEP | ACTION |
| --- | --- | --- |
|  | 1 | Notify EMT and DRT of impending event as time permits. |
|  | 2 | If impending natural disaster can be tracked, begin launching network DR plans within 48 hours as follows: Deploy portable generators with fuel on standby. Deploy network technical and admin personnel on standby. Deploy tractor trailers with replacement work space, antennas, power, computers, network connectors and phones. Facilities department on standby for replacement shelters. Basic necessities are acquired by support personnel when deployed: Cash for one week Food and water for one week Gasoline and other fuels Supplies, including chainsaws, batteries, rope, flashlights, medical supplies, etc. |
|  | 3 | 24 hours prior to event: Create an image of network and system databases and other relevant files. Back up critical network and system elements. Verify backup generator fuel status and operation. Create backups of PBXs, routers, VoIP systems, e-mail, routers, switches, file servers, etc. Fuel vehicles and emergency trailers. Notify senior management. |

### In the event of a fire

If fire or smoke is present in the facility where network infrastructure assets are located, evaluate the situation and determine the severity, categorize the fire as a major or minor incident and take the appropriate action as defined in this section.  Call 911 or contact your local first responders as soon as possible if the situation warrants it.

- Personnel are to attempt to extinguish minor fires (e.g., single hardware component or paper fires) using hand-held fire extinguishers located throughout the facility. Any other fire or smoke situation will be handled by qualified building personnel until the local fire department arrives.

- In the event of a major fire, call 911 and immediately evacuate the area.

- In the event of any emergency situation, such as system and network security, site security and personal safety are the major concerns. If possible, the lead network administrator and/or designee should remain present at the facility until the fire department has arrived.

- In the event of a major catastrophe affecting the facility, immediately notify senior management.

| Procedure | STEP | ACTION |
| --- | --- | --- |
|  | 1 | Dial 911 to contact the fire department. |
|  | 2 | Immediately notify all other personnel in the facility of the situation and evacuate the area. |
|  | 3 | Alert emergency personnel on: <Enter PHONE NUMBERS> Provide them with your name, extension where you can be reached, building and room number, and the nature of the emergency. Follow all instructions given. |
|  | 4 | Alert the EMT and DRT. Note: During non-staffed hours, security personnel will notify the Senior Executive responsible for the location directly. |
|  | 5 | Notify Building Security. Local security personnel will establish security at the location and not allow access to the site unless notified by the Senior Executive or his/her designated representative. |
|  | 6 | Contact appropriate vendors to aid in the decision regarding the recovery and resumption of network services and protection of equipment as time and events permit. |
|  | 7 | All personnel evacuating the facilities will meet at their assigned outside location (assembly point) and follow instructions given by the designed authority. Under no circumstances may any personnel leave without the consent of a supervisor. |

### In the event of a network services provider outage

In the event of a network service provider outage, the guidelines and procedures in this section are to be followed.

| Procedure | STEP | ACTION |
| --- | --- | --- |
|  | 1 | Notify senior management of outage. Determine cause of outage and timeframe for its recovery. |
|  | 2 | If outage will be greater than one hour, route all calls via alternate services. If it is a major outage and all carriers are down and downtime will be greater than 12 hours, deploy satellite phones, if available. |

### In the event of a flood or water damage

In the event of a flood or broken water pipe near any network infrastructure location, the guidelines and procedures in this section are to be followed.

| Procedure | STEP | ACTION |
| --- | --- | --- |
|  | 1 | Assess the situation and determine if outside assistance is needed; if this is the case, dial 9-1-1 immediately. |
|  | 2 | Immediately notify all other personnel of the situation and to be prepared to cease voice and data operations. |
|  | 3 | Notify all other personnel in the facility of the situation and to be prepared to cease operations accordingly. |
|  | 4 | Water detected below raised floor may have different causes: If water is slowly dripping from an air conditioning unit and not endangering equipment, contact repair personnel immediately. If water is of a major quantity and flooding beneath the floor (water main break), immediately implement power-down procedures. While power-down procedures are in progress, evacuate the area and follow management’s instructions. |

## Plan review and maintenance

This network disaster recovery plan must be reviewed semi-annually and exercised on at least an annual basis.  The test may be in the form of a walk-through, mock disaster, or component testing.  Additionally, considering the dynamic environment within <Your Company>, it is important to review the listing of personnel and phone numbers contained within the network DR plan regularly.

The hard-copy version of the network DR plan will be stored in a common location where it can be viewed by site personnel and the EMT and DRT.  Electronic versions will be available via <Your Company> network resources as provided by IT Technical Support.  Each recovery team will have its own directory with change management limited to the recovery plan coordinator.

# Alert/verification/declaration phase (x-x hours)

## Plan checklists

Network response and recovery checklists and plan flow diagrams are presented in the following two sections.  The checklists and flow diagrams may be used by Technical Support members as "quick references" when implementing the network DR plan or for training purposes.

## Plan checklists

| Initials | Task to be completed |
| --- | --- |

## Network diagrams

## Recovery flow diagrams

## Notification of incident affecting the site

On-duty personnel responsibilities

If in-hours:

Upon observation or notification of a potentially serious network disruption at a company location, ensure that personnel on site have enacted standard emergency and evacuation procedures if appropriate and notify the EMT and DRT.

If out of hours:

IT Technical Support personnel should contact the EMT and DRT.

## Provide status to EMT and DRT

1.	Contact EMT and/or DRT and provide the following information when any of the following conditions exist:  (See Appendix B for contact list)

- Network performance has sufficiently degraded to where normal operations are not possible for three or more hours.

- Any problem at any network infrastructure asset, system or location that would cause the above condition to be present or there is certain indication that the above condition is about to occur.

The EMT will provide the following information:

- Location of incident.

- Type of incident (e.g., fire, hurricane, flood).

- Summarize the damage (e.g., minimal, heavy, total destruction).

- Meeting location that is a safe distance from the disaster scene.

- An estimated timeframe of when a damage assessment group can enter the facility (if possible).

- The EMT will contact the respective team leader and report that a disaster involving network operations has occurred.

- The EMT and/or DRT will contact the respective <Your Company> team leader and report that a disaster affecting network operations has occurred.

## Decide course of action

Based on the information obtained, the EMT and/or DRT decide how to respond to the event: Mobilize IT Technical Support, repair/rebuild existing network operations with network technical and admin staff or relocate to a new facility.

## Inform team members of decision

If a disaster is not declared, the location response team will continue to address and manage the situation through its resolution and provide periodic status updates to the EMT/DRT.

If a disaster is declared, the EMT and/or DRT will notify IT Technical Support immediately for deployment of network DR plans.

Declare a disaster if the situation is not likely to be resolved within predefined time frames.  The person who is authorized to declare a network disaster must also have at least one (1) backup who is also authorized to declare a disaster in the event the primary person is unavailable.

## Contact networking and equipment vendors (see Appendix I)

# Disaster declared: mobilize incident response/technical support teams/report to command center

Once a network desk disaster is declared, the Disaster Recovery Team (DRT) is mobilized. This team will initiate and coordinate the appropriate recovery actions.  Network technical and administrative employees should assemble at a designated location as soon as possible.  See Appendix E for emergency locations.

## Conduct detailed damage assessment (This should be performed prior to declaring a disaster)

1.	Under the direction of local authorities, IT Technical Support and/or EMT/DRT, assess the damage to the network and related assets.  Include vendors/providers of installed network services and equipment to ensure that their expert opinion regarding the condition of the network is determined ASAP.

A.	Participate in a briefing on assessment requirements, reviewing:

(1)	Assessment procedures

(2)	Gather requirements

(3)	Safety and security issues

NOTE:  Access to the facility following a fire or potential chemical contamination will likely be denied for 24 hours or longer.

- Document assessment results using Assessment and Evaluation Forms

contained in Appendix G:

Building access permitting:

      - Conduct an on-site inspection of affected areas to assess damage to essential network records (files, manuals, contracts, documentation, etc.) and electronic data.

      - Obtain information regarding damage to the network, e.g., environmental conditions, physical structure integrity, furniture, and fixtures) from the DRT.

2.	Develop a Restoration Priority List, identifying facilities, vital records and equipment needed for resumption of network operations that could be restored and retrieved quickly.

3.	Recommendations for required resources.

## Contact DRT: Decide whether to continue to business recovery phase

The EMT and DRT gather information regarding the event; contacts senior management and provides them with detailed information on status.

Based on the information obtained, senior management decides whether to continue to the business recovery phase of this network DR plan.  If the situation does not warrant this action, continue to address the situation at the affected site(s).

# Network recovery phase (xx hours - full recovery)

This section documents the steps necessary to activate network recovery plans to support full restoration of systems and network functionality at either 1) the original company location or 2) an alternate/recovery site that would be used for an extended period of time.  Coordinate resources to re-establish network operations at the primary site and reconstruct network operations at a temporary/permanent system location, and to deactivate recovery teams upon return to normal network operations in either scenario.

## <Your Company> System and facility operation requirements

The system and facility configurations for each location are important to re-establish normal network operations.  A list for each location will be included in Appendix F.

## Notify IT technical support staff and coordinate return to primary facility/location

See Appendix A for IT Technical Support staff associated with recovery of network operations at the original site.

## Secure funding for return to work

Make arrangements in advance with network service carriers and equipment vendors to recover network operations at the primary site.

## Notify IT technical support staff/coordinate relocation to new facility/location

See Appendix A for IT Technical Support staff associated with configuring network services at an alternate location (replacement for original site).

## Secure funding for relocation

Make arrangements in advance with network service carriers and equipment vendors.  Make arrangements in advance with local banks, credit card companies, hotels, office suppliers, food suppliers and others for emergency support.

## Notify EMT and corporate business units of network recovery

Using the call list in Appendix B, notify the appropriate company personnel.  Inform them of any changes to processes or procedures, contact information, hours of operation, etc. (may be used for media information).

## Operations recovered

Assuming all relevant network operations have been recovered either to the original location or to an alternate site with employees in place to support network operations, the company can declare that its network is functioning normally.

# Appendixes

## Appendix A: <Your Company> recovery teams

### Emergency Management Team

Note:  See Appendix B for contact list.  Suggested members include  senior management, Human Resources, Corporate Public Relations, Legal Department, IT Technical Support, Risk Management and Operations.

Charter:

Responsible for overall coordination of the network disaster recovery effort, evaluation and determining disaster declaration and communications with senior management.

Support activities:

The Emergency Management Team:

- Evaluates which recovery actions should be invoked and coordinate with the corresponding network recovery teams.

- Analyzes network damage assessment findings.

- Sets restoration priority based on damage assessment reports in collaboration with IT Technical Support.

- Provides senior management with ongoing status information.

- Acts as a communication channel to corporate teams and major customers.

- Work with vendors, carriers and IT Technical Support to develop a rebuild/repair schedule

### Disaster Recovery Team (DRT)

Note:  See Appendix B for contact list.

Charter:

Responsible for overall coordination of the network disaster recovery effort, establishment of the emergency command area (if needed) and communications with senior management, the Emergency Management Team, and IT Technical Support teams.

Support activities:

- Coordinate with EMT, senior management and IT Technical Support

- Assist with determination of network recovery needs with IT Technical Support.

- Establish command center and assembly areas.

- Notify all company department heads and advise them to activate their plan(s) if applicable, based upon the disaster situation.

- If no network disaster is declared, take appropriate action to return to normal network operations using regular network operations staff.

- Determine if carriers, vendors and other teams are needed to assist with detailed damage assessment.

- Prepare post-disaster debriefing report.

- Coordinate the development of revised network recovery plans and ensure they are updated semi-annually.

### IT technical support

Charter

IT Technical Support will facilitate network recovery and restoration activities.

Support activities

- Upon notification of disaster declaration, review and provide support as follows:

  - Facilitate network recovery and restoration activities, providing guidance on replacement equipment, systems and network services, as required.

  - Coordinate testing of network operations to ensure the network is functioning normally.

## Appendix B: Recovery team contact lists

### Emergency Management Team

| Name | Address | Home | Mobile |
| --- | --- | --- | --- |

### Disaster Recovery Team

| Name | Address | Home | Mobile |
| --- | --- | --- | --- |

### IT Technical Support

| Name | Address | Home | Mobile |
| --- | --- | --- | --- |

## Appendix C: Emergency numbers

### First responders, network carriers, public utility companies and others

| Name | Contact Name | Phone |
| --- | --- | --- |

## Appendix D: Contact list

| Name | Address | Home | Mobile |
| --- | --- | --- | --- |

## Appendix E: Emergency command center locations

### Emergency command center - <Location Name>

Primary:	Address

Room   XXXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

Alternate:	Address

Room XXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

### Emergency command center - <Location Name>

Primary:	Address

Room   XXXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

Alternate:	Address

Room XXX

City, State

Contact:  “coordinator of rooms/space - (xxx) xxx-xxxx

## Appendix F: Forms

### Incident/disaster form

Upon notification of a network disruption the on-duty personnel in Network Operations will make the initial entries into this form.  It will then be forwarded to the ECC and will be continually updated.  This document will be the running log until the help desk incident/disaster has ended and “normal business” has resumed.

TIME AND DATE

________________________________________________________________________

TYPE OF EVENT

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

LOCATION

________________________________________________________________________

________________________________________________________________________

BUILDING ACCESS ISSUES

________________________________________________________________________

________________________________________________________________________

PROJECTED IMPACT TO OPERATIONS

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

RUNNING LOG (ongoing events)

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

### Critical equipment status form

CRITICAL EQUIPMENT STATUS

ASSESSMENT AND EVALUATION FORM

Recovery Team:	__________________________________________

[----------STATUS---------]

Equipment 		Condition	      Salvage 		Comments

1.  ___________________	______________  ______  _________________________

2.  ___________________	______________  ______  _________________________

3.  ___________________	______________  ______  _________________________

4.  ___________________	______________  ______  _________________________

5.  ___________________	______________  ______  _________________________

6.  ___________________	______________  ______  _________________________

7.  ___________________	______________  ______  _________________________

8.  ___________________	______________  ______  _________________________

9.  ___________________	______________  ______  _________________________

10.  __________________	______________  ______  _________________________

11.  __________________	______________  ______  _________________________

12.  __________________	______________  ______  _________________________

13.  __________________	______________  ______  _________________________

14.  __________________	______________  ______  _________________________

15.  __________________	______________  ______  _________________________

Legend

Condition: 	OK - Undamaged

DBU - Damaged, but usable

DS - Damaged, requires salvage before use

D - Destroyed, requires reconstruction

### Critical network channel status form

CRITICAL NETWORK CARRIER CHANNEL STATUS

ASSESSMENT AND EVALUATION FORM

Recovery Team:	__________________________________________

[----------STATUS---------]

Carrier Service (ckt #) 	             Condition	      		Comments

1.  ___________________	_____________________  	_________________________

2.  ___________________	_____________________  	_________________________

3.  ___________________	_____________________  	_________________________

4.  ___________________	_____________________  	_________________________

5.  ___________________	_____________________  	_________________________

6.  ___________________	_____________________  	_________________________

7.  ___________________	_____________________  	_________________________

8.  ___________________	_____________________  	_________________________

9.  ___________________	_____________________  	_________________________

10.  __________________	_____________________  	_________________________

11.  __________________	_____________________  	_________________________

12.  __________________	_____________________  	_________________________

13.  __________________	_____________________  	_________________________

14.  __________________	_____________________  	_________________________

15.  __________________	_____________________  	_________________________

Legend

Condition: 	OK - Undamaged

DBU - Damaged, but usable

DR - Damaged, requires repair before reuse

D - Destroyed, requires replacement

## Appendix G: Building evacuation information

## Appendix H: Inventory of primary network services and equipment

## Appendix I: Inventory of backup network services and equipment

## Appendix J: Approved vendor list

### Server and computer equipment suppliers

| Company Name | Contact | Work | Mobile |
| --- | --- | --- | --- |

### Communications and network services suppliers

| Company Name | Contact | Work | Mobile |
| --- | --- | --- | --- |

# Text boxes

Insert checklists and other relevant procedure documents here.

Insert network diagrams and other relevant procedure documents here.

Insert network recovery flow diagrams and other relevant procedure documents here.

Provide evacuation procedures

Provide list of equipment and network services

Provide list of equipment